St Michael’s NS

Donaghmoyne			   	                                                                       Telephone: 042 9662284

Carrickmacross			                                                Email: stmichaelsnsdonaghmoyne@gmail.com

Co. Monaghan                                                                                                		      Website: stmichaelsns.ie

A81 EA37

Principal: Ms. F Whelan

Vice Principal: Mrs. R Campbell

Fire Drill & Evacuation Policy

Introduction:

The fire drill/evacuation policy of St. Michael’s N.S has been produced following a collaborative consultation process by staff. It has been presented to the Board of Management for ratification.

Aims:

This policy aims to;

- Enable the school to provide for the immediate needs of students, staff and visitors in the event of a fire

- Have in place appropriate safety procedures which comply with the Health, Safety and Welfare at Work Act

- Ensure a safe school environment for all

School Ethos:

The school is committed to the care of the whole school community and the provision of a safe and secure environment for learning.  This policy is in keeping with those ideals.

Objectives:

- To utilize outside agencies (local fire station, fire officer) for training and staff development, so as to enhance safety procedures

- To develop a tried and trusted framework which will ensure the safety of all school personnel in the event of a fire

Internal Procedures:

In the event of a fire, the following steps must be taken;

- Activation of fire alarm

- In all classroom/resource areas, children are to stand up, push their chairs under the tables and calmly walk in a single file to the door

- No items are to be taken with pupils

- Mrs. Lennon’s and Mrs. Mc Guirk’s room exit the building via the emergency exit door at the bottom of the corridor. They continue to the fire assembly point at the front of the school, where they line up class by class.

- Mrs Campbell’s and Ms. Atkinson’s room exit via the front door and continue to the fire assembly point at the front of the school, where they also line up class by class.

- Each teacher will take the roll book (class list) of theirown individual class with them and call the roll on reaching the fire assembly point.

- Pupils can only return to the classroom once permission has been given to do so.

- A fire drill will be carried out a minimum of once a term.

Role and Responsibilities:

All teachers are responsible for the safety and well being of the pupils in their care.  The Principal has overall responsibility for ensuring proper procedures are in place.   Mrs. Karen Mc Guirk is the Fire Safety officer. Her roles and responsibilities will include:

- Organise a fire drill once a term.

- Updating and displaying fire safety procedures and escape plan.

- Ensure fire extinguishers and alarms are serviced annually.

- Ensure fire escape routes are kept clear and visible to all.

- Update fire drill and evacuation policy.

- Organise fire safety training for staff members.

Evaluation:

- Positive feedback from all stakeholders

- Maintaining safety standards

- Achieving a coordinated and orderly evacuation in the shortest time possible

- Yearly reviews

Implementation:

This policy is effectively in operation from April 2016.

Ratification:

The policy was reviewed and ratified by the Board of Management in October 2020.

References:

- Fire safety in the home – National Safety Council

- Fire safety in the school – National Safety Council

Signed: ___ John Doolan _______ 	(Chairperson)

Date: 14/10/2020